Regular Meeting

Hauser Lake Fire Station

November 12, 2024

The regular meeting of the Board of Directors of the Hauser Lake Water Association was called to order at 7:16 p.m. by Joe Wachter. Board members Don Evans, Mike Pauker, and Joe Wachter were present. Employees Terry Leigh, Kaitlyn Scarborough, and Jennifer Sims were present. Not present were James Lewis, Chet Wachsmuth, and Troy Manthey.

Minutes

Don motioned that the last meeting minutes for October be approved. Joe seconded, and all approved.

Treasury Report/Bills

- Bills- All checks were signed by both Joe and Mike.

Don motioned to accept the treasury report. Joe seconded, and all approved.

From the Floor

Nothing from the floor.

Operators Report

-PRV: old booster station on Cloverleaf, work is progressing getting piping and valves installed. Still in progress

-Telemetry system for Woodlake Booster, all equipment has been installed and operating properly. No more call outs for dropped signal. Will need to retrieve repeater station equipment by cell towers when comfortable new system is working properly.

-Gas regulator leaking at Ridge Booster: contacted Lake City Heating and Cooling to fix regulator for the Gen set this location

-Terry mentioned that might be good to get quotes to move one of the large heaters out of the Ridge Booster station to the new shop at Well site.

-Mike mentioned that Generator Maintenance to be completed Thursday the 14th of November.

-Terry reported that the Fire hydrant the State project is filling from has leak that needs to be repaired and parts to be ordered.

-Terry reported that the Woodlake heater needed to get changed out before freezing temps set in.

-Terry requested Macs Electric, Steve, to come and look at wiring in power for new meter at PRV station on Cloverleaf.

-Terry reported that meter reads went well, still lots of locates for projects around the lake area and that all systems seemed to be operating within tolerances.

Old Business- Action

- RHL Reimbursements- Strata, Edwards Engineering, and/or contractors or others to be invoiced to Big Sky Development. Reimbursements have been invoiced. Payment has been accepted, and no further invoices are to be sent out.

- Easements- Terry states that he has the electronic copies. Don requested more information regarding the easements. Mike volunteered to go to the shop to find easements, but could not locate easements in shop. Kaitlyn will verify her records. To be continued.

- Board Member Attendance- Joe motioned to have James removed due to lack of communication and attendance. Don seconded. All approved.

- Facility Plan Updates- The plan review has been accepted by the Board members moving forward.

- Kathleen water lines have been mostly completed with the exception of the PRV and fire hydrant.

- Firetruck- Joe will call James and inquire about the firetruck that has been stored in the HLWA’s shop.

New Business- Action

- Ridge applications- Big Sky has asked for water for 2 of the 7 remaining lots. The board has agreed to allow water for 2 of the remaining 7 lots, but the rest of the work to be completed per the contract must be done before allowing for water on the last 5 remaining lots.

- Big Sky Bond- the board reviewed bonding from Big Sky.

- Kyle Hogan- Kyle reached out to the Board asking if they would like to purchase documents/plans. The board has chosen to not purchase plans/documents at this time.

In Queue:

  - Cross Connection Policy

  - Request for proposals for Burdette Loop to be developed

  - By-Laws- Updates to Election

  - ITD Reimbursements

  - Water Usage Rate structure

Completed Items:

      - Mail Box Replacement- Champion Concrete backed into the mailbox. The mailbox has been replaced and an invoice has been mailed to Champion Concrete.

      - Repeater at the Woodlake Booster Radio Station- Completed.

      - Lead and Copper Service Line Inventory DEQ- Terry worked with Katie and Jenny to complete the Excel spreadsheet that DEQ is requesting. The information collected was submitted by 10/15/24 to remain in compliance with DEQ. This information was accepted by DEQ.

      - Investments- CD Maturity/Callable- Don reviewed current CDs. One CD was called and the other is nearing maturity.

Adjournment

Joe moved to adjourn the meeting at 8:33 p.m.  Don seconded the motion and it carried.

Respectfully Submitted:				Attest:

__Terry Leigh _________

Terry Leigh, Operator			Joe Wachter, Vice President

Secretary-Treasurer

____________________________

Chester Wachsmuth, President